Table 2 – Basic sizes of evaporators ИНТ-1, ИНТ-2 и ИКТ-1, ИКТ-2, mm.

| Housing inner diameter, mm | Tube and housing pressure, MPa | l-K | А | А0 | А1 | А2 | DyА | DyГ | DyБ | DyВ | l1* | l2 | H | H1 | (L |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | For designs |  |  | For designs |  |  |  |  |  |  |  |
|  |  |  | 1 | 2 | 1 | 2 |  |  | 1 | 2 | 2 |  |  |  |  |  |  |  |
| 600 | 1,0 | 2000 | 1750 | 1830 | 250 | 280 | 395 | 325 | 200 | 300 | 100 | 250 | 400 | 490 | 530 | 530 | 3600 |
|  |  | 3000 | 2750 | 2830 |  |  |  |  |  |  |  |  |  |  |  |  | 4600 |
|  |  | 4000 | 3750 | 3830 |  |  |  |  |  |  |  |  |  |  |  |  | 5600 |
|  | 1,6 | 2000 | 1750 | 1810 |  | 270 | 390 | 330 |  | 250 |  |  | 350 | 475 | 495 |  |  | 3590 |
|  |  | 3000 | 2750 | 2810 |  |  |  |  |  |  |  |  |  |  |  |  |  | 4590 |
|  |  | 4000 | 3750 | 3810 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5590 |
|  | 2,5 | 2000 | 1725 | 1790 | 275 |  | 435 | 380 |  | 200 |  |  |  | 490 | 510 |  |  | 3700 |
|  |  | 3000 | 2725 | 2790 |  |  |  |  |  |  |  |  |  |  |  |  |  | 4700 |
|  |  | 4000 | 3725 | 3790 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5700 |
|  | 4,0** | 2000 | 1700 | 1785 | 300 | 275 |  |  |  |  |  |  |  |  |  |  |  | 3700 |
|  |  | 3000 | 2700 | 2785 |  |  |  |  |  |  |  |  |  |  |  |  |  | 4700 |
|  |  | 4000 | 3700 | 3785 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5700 |
| 800 | 1,0 | 2000 | 1725 | 1790 | 275 | 340 | 460 | 360 | 250 | 400 | 150 | 300 | 500 | 625 | 690 | 630 | 680 | 4920 |
|  |  | 3000 | 2725 | 2790 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5920 |
|  |  | 4000 | 3725 | 3790 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6920 |
|  | 1,6 | 2000 | 1725 | 1760 |  | 320 | 500 | 400 |  | 300 |  |  |  | 640 | 705 |  |  | 4050 |
|  |  | 3000 | 2725 | 2760 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5050 |
|  |  | 4000 | 3725 | 3760 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6050 |
|  | 2,5 | 2000 | 1700 | 1735 | 300 | 325 | 520 | 465 |  | 250 |  |  | 400 | 595 | 720 |  |  | 4080 |
|  |  | 3000 | 2700 | 2735 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5080 |
|  |  | 4000 | 3700 | 3735 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6080 |
|  | 4,0** | 2000 | 1675 | 1725 | 325 | 335 |  |  |  |  |  |  |  |  |  | 680 |  | 4080 |
|  |  | 3000 | 2675 | 2725 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5080 |
|  |  | 4000 | 3675 | 3725 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6080 |
| 1000 | 1,0 | 2000 | 1675 | 1720 | 325 | 350 | 600 | 425 | 300 | 400 | 200 | 350 | 700 | 830 | 820 | 730 | 780 | 4450 |
|  |  | 3000 | 2675 | 2720 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5450 |
|  |  | 4000 | 3675 | 3720 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6450 |
|  | 1,6 | 2000 | 1675 | 1720 |  | 330 |  | 475 |  | 300 |  |  | 600 | 785 | 900 |  |  | 4450 |
|  |  | 3000 | 2675 | 2720 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5450 |
|  |  | 4000 | 3675 | 3720 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6450 |
| 1000 | 2,5 | 2000 | 1650 | 1705 | 350 | 345 | 640 | 515 | 300 | 300 | 200 | 350 | 600 | 805 | 910 | 730 | 780 | 4570 |
|  |  | 3000 | 2650 | 2705 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5570 |
|  |  | 4000 | 3650 | 3705 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6570 |
|  | 4,0** | 2000 | 1625 | 1685 | 375 | 365 |  |  |  |  |  |  |  |  |  | 780 |  | 4570 |
|  |  | 3000 | 2625 | 2685 |  |  |  |  |  |  |  |  |  |  |  |  |  | 5570 |
|  |  | 4000 | 3625 | 3685 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6570 |
| 1200 | 1,0 | 3000 | 2600 | 2710 | 400 | 420 | 750 | 480 | 350 | 500 | 250 | 400 | 800 | 955 | 900 | 830 | 880 | 5860 |
|  |  | 4000 | 3600 | 3710 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6860 |
|  | 1,6 | 3000 | 2600 | 2660 |  |  | 685 | 540 |  | 400 |  |  | 700 | 925 | 915 |  |  | 5860 |
|  |  | 4000 | 3600 | 3660 |  |  |  |  |  |  |  |  |  |  |  |  |  | 6860 |
|  | 2,5 | 3000 | 2600 | 2645 |  | 405 | 780 | 615 |  | 350 |  |  |  | 945 | 935 |  |  | 6060 |
|  |  | 4000 | 3600 | 3645 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7060 |
| 1400 | 1,0 | 3000 | 2625 | 2695 | 375 | 435 | 875 | 565 |  | 500 |  | 500 | 900 | 1100 | 900 | 990 | 1030 | 6390 |
|  |  | 4000 | 3625 | 3695 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7290 |
|  | 1,6 | 3000 | 2625 | 2655 |  | 425 | 785 | 610 |  | 400 |  |  | 800 | 1070 | 910 |  |  | 6310 |
|  |  | 4000 | 3625 | 3655 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7310 |
|  | 2,5 | 3000 | 2625 | 2630 |  | 420 | 880 | 710 |  | 350 |  |  |  | 1090 | 950 |  |  | 6530 |
|  |  | 4000 | 3625 | 3630 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7530 |
| 1600 | 1,0 | 3000 | 2550 | 2610 | 450 | 540 | 890 | 650 | 400 | 600 | 300 | 600 | 1000 | 1230 | 900 | 1090 | 1130 | 6750 |
|  |  | 4000 | 3550 | 3610 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7750 |
|  | 1,6 | 3000 | 2550 | 2575 |  | 525 | 915 | 690 |  | 500 |  |  |  | 1245 | 910 |  |  | 6820 |
|  |  | 4000 | 3550 | 3575 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7820 |
|  | 2,5 | 3000 | 2525 | 2540 | 475 | 510 | 930 | 805 |  | 400 |  |  | 800 | 1165 | 950 |  |  | 6850 |
|  |  | 4000 | 3525 | 3540 |  |  |  |  |  |  |  |  |  |  |  |  |  | 7860 |
| 1800 | 1,0 | 3000 | 2525 | 2590 |  | 560 | 975 | 745 |  | 600 |  | 700 | 1100 | 1360 | 1050 | 1190 | 1230 | 7200 |
|  |  | 4000 | 3525 | 3590 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8200 |
|  | 1,6 | 3000 | 2525 | 2550 |  | 550 | 1035 | 775 |  | 500 |  |  |  | 1375 | 1060 |  |  | 7320 |
|  |  | 4000 | 3525 | 3550 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8320 |
|  | 2,5 | 3000 | 2480 | 2530 | 520 | 520 | 1085 | 900 |  | 400 |  |  | 1000 | 1345 | 1110 |  |  | 7460 |
|  |  | 4000 | 3480 | 3530 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8460 |
| 2000 | 1,0 | 3000 | 2425 | 2515 | 575 | 635 | 1060 | 785 | 500 | 700 | 400 |  | 1200 | 1480 | 1180 | 1290 | 1330 | 7500 |
|  |  | 4000 | 3425 | 3515 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8500 |
|  | 1,6 | 3000 | 2425 | 2475 |  | 625 | 1120 | 825 |  | 600 |  |  |  | 1510 | 1190 |  |  | 7650 |
|  |  | 4000 | 3425 | 3475 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8650 |
|  | 2,5 | 3000 | 2380 | 2455 | 620 | 595 | 1190 | 970 |  | 500 |  |  | 1100 | 1480 | 1245 |  |  | 7830 |
|  |  | 4000 | 3380 | 3455 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8830 |
| 2200 | 1,0 | 3000 | 2400 | 2500 | 600 | 650 | 1190 | 865 | 500 | 700 | 400 | 800 | 1400 | 1640 | 1275 | 1390 | 1430 | 7970 |
|  |  | 4000 | 3400 | 3500 |  |  |  |  |  |  |  |  |  |  |  |  |  | 8970 |
|  | 1,6 | 3000 | 2400 | 2450 |  |  | 1195 | 915 |  | 600 |  |  | 1300 | 1675 | 1290 |  |  | 8080 |
|  |  | 4000 | 3400 | 3450 |  |  |  |  |  |  |  |  |  |  |  |  |  | 9080 |

*Size is for references.

**Housing pressure. Pipe pressure (2,5 MPa.

Note: 1. Pressure in the tubes should be equal to or less than the pressure in housing. If the pressure in the tubes is lesser than pressure in the housing the dimensions  A, A0, l3, DyA, DyГ, N are selected depending on the pressure in the housing, all other dimensions are selected depending on the pressure in the tue. 
2. Machine of ИКТ-1 ИКТ-2 type are applied with housing diameter of 1400… 600 mm for Rn (1.6 MPa  
3. at the tube length of  2000 mm and 3000 mm k = 5, the tube length of 4000 mm  k = 10.

Figure 3. Evaporators of ИПТ type with heat exchange tube length l=3000 mm. DyА –    entry (exit) of heat carrier; DyБ – entry of liquid product; DyВ – exit of product steams.

Figure 4. Evaporators of ИПТ type with heat exchange tube length l=6000 mm. DyА –    entry (exit) of heat carrier; DyБ – entry of liquid product; DyВ – exit of product steams.